## Slide 1
Feedback Control Systems Performance and Characteristics

## Slide 2: outline
Response of Second Order Systems.
2

## Slide 3: Table 3.1 Summary of response of a LTI first order system
16

c(t)  1 et / 
c(t)  1 et / 
c(t)  t  1 et / 
input:
output:
unite ramp
unite step
unite impulse
0
rt   (t)  u (t)
rt  u(t)  u1(t)
rt  u2 (t)
d
dt
d
dt
d
dt
d
dt

## Slide 4: Second Order Systems
A general second-order system (without zeros) is characterized by the following transfer function.
17
n
s2  2 ns   2

R(s)
C(s)
s(s  2n )
G(s) 
 Open-Loop Transfer Function
 Closed-Loop Transfer Function

## Slide 5: Second Order Systems
2
n n
s2
C(s)
 s  
R(s)  2

  damping ratio of the second order system, which is a measure of the degree of resistance to change in the system output.
n un-damped natural frequency of the second order system, which is the frequency of oscillation of the system without damping
18

## Slide 6: Example#2
Compare the numerator and denominator of the given transfer function
with the general 2nd order transfer function.
19
s2  2s  4
R(s)
Determine the un-damped natural frequency and damping ratio of the following second order system.
C(s)  4
n n
s2
R(s)
C(s)
 2 s  2

n
n
 2 rad / sec
 2  4  
s2  2 ns  2  s2  2s  4
n
 2 ns  2s
  n  1
   0.5

## Slide 7: Example#3
Example 3: For the second order system described by the closed loop transfer function T(s), n and ξ .
Compare with the standard equation we have:
20
24 6

s2
R(s) 4s2  12s  256  3s  64
T (s)  C(s) 
n n
and
Since
2  64 2   3
16
n
   8 ,   3  0.8

## Slide 8: Second Order Systems - Poles
The second order system Transfer function is
The characteristic polynomial of a second order system is:
The closed-loop poles of the system are
21
2
n n
s2
C(s)
 s  
R(s)  2

2
 2  1
n
s2   n  n   1
s1   n  
2
 (s  s1 )(s  s2 )  0
s2
n n
 2 s  
2
4
2
1 1
 4
 2 1
    
 
 2   
n
n
2
n
2
n
n
s , s 

## Slide 9: Response of Second Order Systems
, a second-order system can be set into one
22
According the value of 
of the four categories:
  Case 1: Over damped response (ξ > 1)
  Case 2: Critically damped response (ξ = 1)
  Case 3: Under damped response (0 < ξ <1)
  Case 4: No damped response (ξ = 0)

## Slide 10: Unit-Step Response of Second Order Systems
Example#4: Calculate and plot the output of the system with the following transfer function:
Solution: With unit step input, its response is:
23
δ
2
 3s  2
s2
T (s) 
1

 2 1
 1 
s s  1 s  2
s(s2  3s  2)
C(s)  R(s)T (s) 
2
s2   n  n   1
Case 1: Over damped response (ξ > 1)
  The two roots of the characteristic equation s1 and s2 are real and distinct.
jω
s        2  1
1 n n

## Slide 11: Unit-Step Response of Second Order Systems
24
The corresponding time domain output is given by:
c(t)  L1{C(s)}  [1  2 et  e2t ]u(t)
output signal
  1
time [sec]

## Slide 12: Unit-Step Response of Second Order Systems
Example#5: Calculate and plot the output of the system with the following transfer function:
Solution: With unit step input, its response is:
25
δ
Case 2: Critically damped response (ξ = 1)
  The two roots of the characteristic equation s1 and s2 are real and equal.
jω
 4s  4
s2
5s  4
T (s) 
1 3
 1  
s s  2 (s  2)2
s(s2  4s  4)
5s  4
C(s)  R(s)T (s) 
 n
s1,2

## Slide 13: Unit-Step Response of Second Order Systems
26
The corresponding time domain output is given by:
c(t)  L1{C(s)}  [1  e2t  3 t e2t ]u(t)
output signal
  1
time [sec]

## Slide 14: Unit-Step Response of Second Order Systems
Example#6: Calculate and plot the output of the system with the following transfer function:
Solution: With unit step input, its response is:
27
δ
Case 3: Under damped response (ξ < 1)
  The two roots of the characteristic equation s1 and s2 are complex conjugates of on another.
jω
1,2
s   j 12
n n
 n jd
s1,2
4
 2s  4
s2
T (s) 
4
 2s  4
s2
 s  2
1
s(s2  2s  4)  s 
C(s)  R(s)T (s) 

## Slide 15: Unit-Step Response of Second Order Systems
The corresponding time domain output is given by:
28
time [sec]
output signal
  1
sin(
1
d
2 e
n

)  u(t)


 
 
 
c(t)  L {C(s)}  1
1
 t 
 t
1
𝑤ℎ𝑒𝑟𝑒 𝜃 =
1 − 𝜉2
𝜉

## Slide 16: Unit-Step Response of Second Order Systems
Example#7: Calculate and plot the output of the system with the following transfer function:
Solution: With unit step input, its response is:
29
δ
Case 4: Undamped response (ξ = 0)
  The two roots of the characteristic equation s1 and s2 are imaginary poles.
jω
  jn
s1,2
4
 4
s 2
T (s) 
4
s2
1  s
s(s2  4)  s   22
C(s)  R(s) T (s) 
n
1 sin(
 L {C(s)}    t)u(t)
 c(t)
1

## Slide 17: The transient response as a function of the damping ratio ξ
30
output signal
  0.2
  0
  0.1
  0.3
  0.4
  0.5
  0.6
  0.7
  2
  0.8
time [s]

## Slide 18: Time-Domain Specification
For 0< ξ <1 and ωn > 0, the 2nd order system’s response due to a unit step input looks like
31

## Slide 19: Time-Domain Specification – Delay Time
Delay-Time (Td): The delay (Td) time is the time required for the response to reach half the final value the very first time.
32

## Slide 20: Time-Domain Specification – Rise Time
Rise-Time (TR): The rise time is the time required for the response to rise from
  10% to 90% of its final value,  over damped systems
  5% to 95% of its final value,  Critical damped systems
  or 0% to 100% of its final value.  under damped systems
33
d
r

t    

 

n
 
1   2 
  tan1 n 

## Slide 21: Time-Domain Specification – Peak Time
Peak Time (Tp): The peak time is the time required for the response to reach the first (maximum) peak of the overshoot.
34
d
p
t

 

## Slide 22: Time-Domain Specification – Maximum Overshoot
Maximum Overshoot (MP): is the maximum peak value of the response curve measured from unity.
Maximum percent overshoot (P.O): is defined as follows:
35

)
1 2
(
MP  e
x100%
1 2

P.O  e
x100%
final value
Mp
P.O 

## Slide 23: Time-Domain Specification – Rise Time
36
n
s
4

t 
The settling time (Ts): is the time required for the response curve to reach and stay within a range about the final value of size specified by absolute percentage of the final value (usually 2% or 5%).
Settling Time (2%)
n
s
3

t 
Settling Time (5%)

## Slide 24: Example#7
For the control system shown in Figure, determine k and a that satisfies the following requirements:
  Maximum percentage overshoot P.O =10%.
  The 5% settling time ts = 1 sec.
Solution: The closed loop transfer function is given by
37
-
+
C(s)
1
s  2
k
s  a
R(s) T (s)
s2
k
k
k 1
k 1
R(s)
C(s)
 s(a  2)  (2a  k )

(s  a)(s  2)  k


 


1   s  a  s  2 
  
 s  a  s  2 
    

## Slide 25: Example#7
The maximum percent overshoot (P.O )is given by:
For 5%, the settling time ts is given by:
From these two equations we get a + 2 = 6 then a = 4
and k = 17
38
  0.6
100
10
2
1

P.O  e 
n
e
s
t  3 3  1


n
  5
&
n n
2a  k  2  0.305
a  2  2