## Slide 1: UNITS : 1- 2
Prof. Dr. Sezai Dinçer
EE 475 HIGH VOLTAGE TECHNIQUES I

## Slide 2: EE 475 (3+0)
Breakdown mechanisms in insulating materials are studied. Topics are; I-Vcharacteristics of gases. Electron emission processes. Ionization and deionization. Townsend and Streamer breakdown mechanisms. Breakdown in electronegative gases. Corona discharges and loses. Breakdown mechanisms in
solid and liquid insulations

## Slide 3: Course Contents

## Slide 4: Introduction

## Slide 6: INTRODUCTION
The power transmitted is proportional with the product of voltage magnitude and current magnitude. In order to transfer
bulks of power to distant locations, transmission voltage level must be increased rather than the current carrying capacity
since the usage of super conductors is not feasible and reliable considering the present technology.
Therefore, the only solution is the increase the transmission system voltage levels and insulation of the system plays a vital role.

## Slide 7: Breakdown

## Slide 8: Free Path of Particles in a Gas Medium
Free path is the distance traversed between successive collisions.
It is a random quantity
E

## Slide 9: Collision Cross section and Mean Free Path
HARD SPHERE MODEL
Moving particles with radius of r2 and molecules with radius of r1 are solid spheres. Evert time the centers of particles come to a distance of
r1 + r2 a collision will occur. The area presented by a molecule to the incoming particle is .which is the collision cross section.
Where is the mean free path.
N is the number of gas molecules per unit volume

## Slide 10: Mean Free Path of Particles
Collision cross section presented

## Slide 11: Clausis Law
At x = λ the particles arriving the gas layer is .
The mean number of collisions is per unit length
In the interval the mean number of collisions is
Therefore,
(- sign indicates loss due to scattering) organizing terms
and integrating both sides gives

## Slide 12: Distribution of Free Paths
collision cross section

## Slide 13: Current - Voltage relationship in a gas insulated gap

## Slide 14: I-V Charasteristic

## Slide 15: I-V Charasteristic

## Slide 16: Townsends First Ionization Coefficient
Paralel Field gap filled with gas molecules. dx is the gas layer at x distance away from cathode.
E

## Slide 17:  , Townsends First Ionization Coefficient

## Slide 18:  , Townsends First Ionization Coefficient
For a gap setting of x= d,
In the steady state

## Slide 19: The First Ionization Coefficient
The above expression is simply the equation of a straight line. Therefo0re , the slope yields the first ionization coeefficient
and the intercept defines the photoelectric current.

## Slide 20: Townsends First Ionization Coefficient in terms of Gas Constants
q is the electronic charge, E: applied field direction. λei is the path along the field direction.
Wi : ionization energy
Condition for ionization
Free path of the electron for ionization
E
Ui : ionization potential

## Slide 21: Townsends First Ionization Coefficient in terms of Gas Constants
For an electron with mean free path , the probability of its free path to be at least equal to
is .
The mean number of collisions in terms of mean free path is
Therefore ionization coefficient is
, define = Ap (A is the gas constant and p is the pressure) , AUi = B ( B is another gas constant)
Hence in terms of gas constants , , ,

## Slide 22: Typical Gas Constants

## Slide 23: Pressure Reduced Field E/P
E/P is termed as the Pressure Reduced Field. E is the applied electric field magnitude
And p is the pressure of the gas insulant.
Assume that p = 760 torrs , with gap distance of 4 cms. In order to produce
E/P = 100 find the required voltage for a uniform gap.
V = (E/p) p d = 100x760x4 = 304000 Volts

## Slide 24: Dependence of the first ionization coefficient on E/P

## Slide 25: Ionization Growth Curves